Lexington Water System Water Quality Report 20251998
Is my drinking water safe? 


Yes, our water meets all of EPA’s health standards. We have conducted numerous tests for over 80 contaminants that may be in drinking water.  As you’ll see in the chart on the back, we only detected six of these contaminants.  We found all of these contaminants at safe levels.        

What is the source of my water?
[image: image1.png]


 Your water, which is surface water, comes from the Beech Lake. Our goal is to protect our water from contaminants and we are working with the State to determine the vulnerability of our water source to potential contamination.  The Tennessee Department of Environment and Conservation (TDEC) has prepared a Source Water Assessment Program (SWAP) Report for the untreated water sources serving this water system.  The SWAP Report assesses the susceptibility of untreated water sources to potential contamination.  To ensure safe drinking water, all public water systems treat and routinely test their water.  Water sources have been rated as reasonably susceptible, moderately susceptible or slightly susceptible based on geologic factors and human activities in the vicinity of the water source.  The Lexington Water System sources rated as moderately susceptible to potential contamination.

An explanation of Tennessee’s Source Water Assessment Program, the Source Water Assessment summaries, susceptibility scorings and the overall TDEC report to EPA can be viewed online at https://www.tn.gov/environment/program-areas/wr-water-resources/water-quality/source-water-assessment.html or you may contact the Water System to obtain copies of specific assessments.

Why are there contaminants in my water?

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791). 



Este informe contiene información muy importante.  Tradúscalo o hable con alguien que lo entienda bien.

For more information about your drinking water, please call Justin Roach at 731-968-5213.


How can I get involved?

Our Water Board meets on the second Monday of each month at 6:00 p.m. at the Lexington Utilities Operations Facility, 180 Maple Street.  Please feel free to participate in these meetings. 

Is our water system meeting other rules that govern our operations? 

 The State and EPA require us to test and report on our water on a regular basis to ensure its safety. We have met all of these requirements.  Results of unregulated contaminant analysis are available upon request.  We want you to know that we pay attention to all the rules.

Other Information

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water:

· Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA and the Tennessee Department of Environment and Conservation prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. Lexington Water System's water treatment processes are designed to reduce any such substances to levels well below any health concern.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Do I Need To Take Special Precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have under-gone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about not only their drinking water, but food preparation, personal hygiene, and precautions in handling infants and pets from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Water System Security

Following the events of September 2001, we realize that our customers are concerned about the security of their drinking water.  We urge the public to report any suspicious activities at any utility facilities, including treatment plants, pumping stations, tanks, fire hydrants, etc. to 731-968-6011
Think before you flush!

Flushing unused or expired medicines can be harmful to your drinking water. Properly disposing of unused or expired medication helps protect you and the environment. Keep medications out of Tennessee's waterways by disposing in one of our permanent pharmaceutical take back bins. There are nearly 100 take back bins located across the state, to find a convenient location please visit: https://tdeconline.tn.gov/rxtakeback/ 
Lead in Drinking Water

 Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. Lexington Water System is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact Lexington Water System at 731-968-6011. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead. 

Lead Service Line Inventory

A Lead Service Line Inventory has been completed for our system and is accessible by contacting our office during regular business hours.
W  a  t  e  r     Q  u  a  l  i  t  y     D  a  t  a
What does this chart mean?
· MCLG -  Maximum Contaminant Level Goal, or the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety. 

· MCL - Maximum Contaminant Level, or the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

· MRDL: Maximum Residual Disinfectant Level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for the control of microbial contaminants.
· MRDLG: Maximum residual disinfectant level goal.  The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

· AL - Action Level, or the concentration of a contaminant which, when exceeded, triggers treatment or other requirements which a water system must follow.

· Below Detection Level (BDL) - laboratory analysis indicates that the contaminant is not present at a level that can be detected.
· Non-Detects (ND) - laboratory analysis indicates that the contaminant is not present.

· Parts per million (ppm) or Milligrams per liter (mg/l) – explained as a relation to time and money as one part per million corresponds to one minute in two years or a single penny in $10,000.

· Parts per billion (ppb) or Micrograms per liter - explained as a relation to time and money as one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000. 

· Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

· Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

· Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers. 

· Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.
· RTCR – Revised Total Coliform Rule.  This rule went into effect on April 1, 2016 and replaces the MCL for total coliform with a Treatment Technique Trigger for a system assessment.
· TT - Treatment Technique, or a required process intended to reduce the level of a contaminant in drinking water.
	Contaminant
	Violation

Yes/No
	Level

Detected
	Range of Detections
	Date of Sample
	Unit

Measurement
	MCLG
	MCL
	Likely Source of Contamination

	Total Coliform Bacteria (RTCR)
	No
	0
	
	2025
	
	0
	TT

Trigger
	Naturally present in the environment

	Turbidity1
	No
	0.18
	0.08–0.18
	2025
	NTU
	n/a
	TT
	Soil runoff

	Copper2
	No
	0.187
90%
	0.00169-0.420
	2023
	ppm
	1.3
	AL=1.3
	Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	Fluoride
	No
	0.65
	0.57 -0.77
	2025
	ppm
	4
	4
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Lead2
	No
	ND
90%
	<1.0 -<1.0
	2023
	ppb
	0
	AL=15
	Corrosion of household plumbing systems, erosion of natural deposits

	Sodium
	No
	7.26
	7.26*
	2025
	ppm
	N/A
	N/A
	Erosion of natural deposits; used in water treatment

	TTHM
[Total trihalomethanes]
	No
	39.73
	24.90 – 36.10
	2025
	ppb
	n/a
	80
	By-product of drinking water chlorination

	Haloacetic Acids (HAA5)
	No
	27.98
	14.80 – 35.00
	2025
	ppb
	N/A
	60
	By-product of drinking water disinfection.

	Total Organic Carbon3
	No
	See Footnote 3
	
	2025
	ppm
	TT
	TT
	Naturally present in the environment.

	Chlorine
	No
	1.22
	0.86 - 1.40
	2025
	ppm
	MRDLG4
	MRDL4
	Water additive used to control microbes.


1100% of our samples were below the turbidity limit.  Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system.
2During the most recent round of Lead and Copper testing, only 0 out of 30 households sampled contained concentrations exceeding the action level.

3We have met all treatment technique requirements for Total Organic Carbon removal.

*We are only required to collect one sample from a single location.
Unregulated Contaminants:   No unregulated contaminants were above the MRL.

MRL – Minimum Reporting Level is the lowest analyte concentration that meets Data Quality Objectives that are developed based on the intended use of this method.
Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted. For additional information call the Safe Drinking Water Hotline at (800) 426-4791.
[image: image2.png]


Copyright © 2019 TAUD All rights reserved


